## Slide 1: Retinal OCT Review
Randee Miller Watson, MD
Retina Consultants of Michigan

## Slide 2: Financial Disclosures
I have no relevant financial disclosures

## Slide 3: A little about myself…

## Slide 4: Outline
What is OCT: overview of technology
Indications for macular OCT
OCT interpretation and practical examples
The future of OCT

## Slide 5: What is OCT
Optical Coherence Tomography

## Slide 6: Time Domain OCT
Older, original OCT technology
400 A-scans/second
Resolution limited 10-15μm

## Slide 7: Spectral Domain OCT
Newer, now standard OCT technology
20,000-40,000 A-scans/second
Resolution up to 3-5μm

## Slide 8: Time Domain vs Spectral Domain

## Slide 9
Advantages
  Rapid image acquisition
  Dilation typically not required
Limitations
  Media clarity
    Dry eyes, corneal opacity, cataract, vitreous hemorrhage, etc
  Poor fixation
  Positioning

## Slide 10: When to get OCT?
To aid in diagnosis/better visualize retinal layers
  Abnormality seen on fundus exam
    Drusen, diabetes, vein occlusion, atrophy, scar, edema
  Poor VA without identifiable pathology
Monitor disease progression/change
Monitor response to treatment

## Slide 11: How to use OCT
Interpreting OCT reports
Describing OCT images

## Slide 12: Macular OCT Printed Reports
Infrared fundus image with color-coded topographical overlay with ETDRS grid that allows for comparison to normative data
Important: the EDTRS grid overlay is movable and may be inaccurate if not properly centered
ETDRS grid with thickness measurements displayed in each macular sector and color-coded topographical map of current scan
ETDRS grid with thickness measurements and color-coded topographical map of reference scan
ETDRS grid and color-coded topographical map displaying change in thickness compared to reference scan
Horizontal line scan overlaying infrared fundus image
Corresponding macular thickness B-scan
Color-coded graph displaying change in thickness compared to reference scan

## Slide 13: Macular OCT Printed Reports
Infrared fundus image with color-coded topographical overlay that allows for comparison to normative data
ETDRS grid with thickness measurements displayed in each macular sector
Magnified image of fovea
3D surface maps of ILM-RPE
Compares thickness to normative data
Horizontal central line scan
Vertical central line scan
Color-coded summary of central subfield thickness, cube volume, and average cube thickness compared to normative data

## Slide 14: Normal OCT
Normal CST: 250-300μm

## Slide 15: Words to Describe OCT
Location
  Subretinal
  Intraretinal
  Preretinal
Appearance
  Hyperreflective
  Hyporeflective
  Disruption
  Attenuation
  Atrophy
  Elevation

## Slide 16: Real Life Examples
80 y/o M, VA 20/30 OU
Epiretinal membrane (ERM)
Drusen
Diagnosis?
Dry AMD OU ERM OD>OS

## Slide 17
55 y/o F
VA 20/60 OD, 20/80 OS
Intraretinal fluid
Hard exudate
Hard exudate
Subretinal fluid
Diagnosis?
DME OU

## Slide 18
74 y/o F
VA 20/60 OD, 20/30 OS
Subretinal fluid
Large serous pigment epithelial detachment (PED)
Drusen
Diagnosis?
OD: Neovascular AMD with SRF and PED
OS: Dry AMD

## Slide 19
53 y/o F on plaquenil for 1° Sjogren syndrome
VA 20/20 OU
Parafoveal loss of IS/OS and ELM
Diagnosis?
Plaquenil toxicity OU

## Slide 20
39 y/o M police officer
“Circle in vision” OD x 1 week
VA 20/25 OU
Subretinal fluid
Normal OS?
Thickened choroid OU
PED
Diagnosis?
Central serous retinopathy

## Slide 21: Future of OCT
OCT angiography

## Slide 22: Future of OCT
OCT angiography
Swept-source OCT

## Slide 23: References
Grover S, Murthy RK, Brar VS, Chalam KV. Normative data for macular thickness by high-definition spectral-domain optical coherence tomography (spectralis). Am J Ophthalmol. 2009;148(2):266-71.
Mazzarella J, Cole J. “The Anatomy of an OCT Scan”. Review of Optometry. https://www.reviewofoptometry.com/article/the-anatomy-of-an-oct-scan. 15 Sep 2015.
Reichel E, Ho J, Duker JS. “OCT Units: Which One Is Right for Me?” Review of Ophthalmology. https://www.reviewofophthalmology.com/article/oct-units-which-one-is-right-for-me. 23 Sep 2009.
Sepah Y, Agarwal A, and Nguyen QD. “OCT Angiography eUpdate”. Retinal Physician. http://www.retinalphysician.com/newsletter/oct-angiography-eupdate/december-2015. Dec 2015.